## fha-24cfr-200.925b
register_id | obligation_id | type | change_action | change_cite | supersedes | section | tags | source_authority | source_url | snapshot_id | captured_at | content_hash | effective_date | mandatory_date | handbook_version | superseded_by | paragraph_quote | register_authority
fha-24cfr-200.925b | fha-24cfr-200.925b-a | do |  |  |  | 24 CFR §200.925b(a) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(a) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | HUD will review each local code submitted under this chapter to determine whether it regulates all of the following areas and subareas: (a) Fire safety. (1) Construction types permitted; (2) Allowable height and area; (3) Fire separations; (4) Fire resistance requirements; (5) Means of egress (number and distance); (6) Individual unit smoke detectors; (7) Building alarm systems; (8) Highrise criteria; | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-b | do |  |  |  | 24 CFR §200.925b(b) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(b) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (b) Light and ventilation. (1) Habitable rooms; (2) Bath and toilet rooms. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-c | do |  |  |  | 24 CFR §200.925b(c) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(c) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (c) Structural loads and seismic design. (1) Design live loads; (2) Design dead loads; (3) Snow loads; (4) Wind loads. (5) Earthquake loads (in localities identified by ASCE 7-88 (formerly ANSI A58.1-82) as being in seismic zones 1, 2, 3, or 4, and Guam). (6) Special loads, i.e., soil pressure, railings, interior walls etc. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-d | do |  |  |  | 24 CFR §200.925b(d) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(d) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (d) Foundation systems. (1) Soil tests; (2) Foundation depths; (3) Footings; (4) Foundation materials criteria; (5) Piles, i.e., materials, allowable stresses, design; (6) Excavation; | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-e | do |  |  |  | 24 CFR §200.925b(e) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(e) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (e) Materials standards. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-f | do |  |  |  | 24 CFR §200.925b(f) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(f) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (f) Construction components. (1) Steel; (2) Masonry; (3) Concrete; (4) Gypsum; (5) Lumber; (6) Roof construction and covering; (7) Chimneys and fireplaces. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-g | do |  |  |  | 24 CFR §200.925b(g) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(g) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (g) Glass. (1) Thickness/area requirements; (2) Safety glazing. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-h | do |  |  |  | 24 CFR §200.925b(h) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(h) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (h) Mechanical. (1) Heating, cooling and ventilation systems; (2) Boilers and pressure vessels; (3) Gas, liquid and solid fuel piping and equipment; (4) Chimneys and vents; (5) Ventilation (air changes). | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-i | do |  |  |  | 24 CFR §200.925b(i) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(i) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (i) Plumbing. (1) Materials standards; (2) Sizing and installing drainage systems; (3) Vents and venting; (4) Traps; (5) Cleanouts; (6) Plumbing fixtures; (7) Water supply and distribution; (8) Storm drain systems. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-j | do |  |  |  | 24 CFR §200.925b(j) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(j) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (j) Electrical. (1) Wiring design and protection; (2) Wiring methods and materials; (3) Equipment for general use; (4) Special equipment; (5) Special conditions; (6) Communication systems. | 24 CFR §200.925b — Residential and institutional building code comparison items
fha-24cfr-200.925b | fha-24cfr-200.925b-k | do |  |  |  | 24 CFR §200.925b(k) | regulator-direct, section-complete, fha-regulation, 24-cfr-200, multifamily | 24 CFR §200.925b(k) | https://www.ecfr.gov/current/title-24/section-200.925b | c2ea1ca16a2cd1ec | 2026-10-14T21:16:00Z | sha256:e9b67ac61d12625bc1591eb435402ddfbcd7c9bc2a3f3b0b143ba5b6a5de8b7d |  |  |  |  | (k) Elevators. (1) Reference ASME/ANSI Standard A 17.1-1987; and the ASME/ANSI A17.1b-1989 Addenda. (2) Acceptance tests and periodic tests. | 24 CFR §200.925b — Residential and institutional building code comparison items